## Slide 1: Goals of this Paper
Contract-based (symbolic execution) verification of components (HILT 2022)
Property-based automated testing of components (FMICS 2023)
System testing based on
  Guided exploration of static system schedules
  Run-time monitoring of contracts of component pre-states and post-states
  Framework of value injection and event observation
  Distributed execution of system tests
  Sophisticated reporting/coverage framework
System Testing: Integrated Model- and Code-based framework for…

## Slide 2: HAMR System Testing Concepts
Initialization
Phase
Compute
Phase
scriptable execution progression
<w1,w2, ..., wk>
observe
<v1,v2, ..., vn>
observe
Property( , ... , )
inject
<u1,u2, ..., ul>
value vectors
Randomizing
Service
Finalization
Phase
...
Integrated contract
checking
Auto-generated Distribution of Tests on Servers
Auto-generated Hyper-linked Test Reports and Assurance Evidence

## Slide 3: HAMR System Testing Concepts
Initialization
Phase
Compute
Phase
scriptable execution progression
<w1,w2, ..., wk>
observe
<v1,v2, ..., vn>
observe
Property( , ... , )
inject
<u1,u2, ..., ul>
value vectors
Randomizing
Service
Finalization
Phase
...
Integrated contract
checking
Auto-generated Distribution of Tests on Servers
Auto-generated Hyper-linked Test Reports and Assurance Evidence

## Slide 4: Example System Property
Typical embedded system properties require not only identifying state constraints but placing these in time
If
The Regulate Subsystem is in NORMAL mode
There are no failure conditions on inputs
The current temp is greater than high set point
Then
The heat control command shall be set to OFF
Observe system state at component ports
…observations occur at different points in time (different points in schedule)
Bound latencies (not directly treated in paper)
Acquire observations of system state at specific points in schedule
[When ..subsystem has received all inputs]
[When ..subsystem completes its scheduling]
…observations are for different parts of the system state (different ports)
Challenges

## Slide 5: Injections / Observations at Ports
This property relates to the Regulate subsystem. So identify the Regulate ports for injections and observations
(for this property, triggering conditions and response conditions)
Desired temperature
Current
temperature
Mode
Failures
Heat Control

## Slide 6: Observation Vectors
HAMR provides support for constructing vectors of port values
Desired temperature
Current
temperature
Mode
Failures
Heat Control

## Slide 7: Property Specification
System property (state constraints) are specified as Slang Boolean functions on injections/observations

## Slide 8: Static Schedule (Intuition)
Intuitive representation of static cyclic schedule
Operator Interface
Temp
Sensor
Heat
Controller
10
0
1
Subsytem Inputs
7
8
9
6
2
Internal Failure Detection
3
Manage Interface
4
Manage Mode
5
Manage Heat Source

## Slide 9: Static Schedule Declaration
Using a scheduling approach that aligns with seL4 domain scheduler and Collins Aerospace strategies – static cyclic scheduling
Excerpts
Manage Heat Source allocated to slot # 5
Scheduling slots that include a thread identifier and the absolute execution time associated with that thread…
0
..
3
4
5
..

## Slide 10: Concept of Execution Schema for This Property
Initialization
Phase
Compute
Phase
<w1,w2, ..., wk>
<u1,u2, ..., ul>
inject
observe
SysPropNormalModeHeatOff( , )
Randomizing
Service
...
Finalization
Phase
...
Run until system has cycled a few times
Hyperperiod
Boundary
Inject random port values for In vector satisfying range/filter constraints
Hyperperiod
Boundary
Observer port values for Out vector
Step past input tasks
Step to end of hyperperiod
Check property on In and Out vectors

## Slide 11: Testing/Debugging API for Schedule Control
HAMR provides APIs that allow debugging and testing tools to directly advance the scheduling at different increments…
Sstep(numSteps)
Hstep(numHyperPeriods)
RunToSlot(slotNum)
RunToHP(HPNum)
RunToThread(threadID)
Advance numSteps slots in schedule (wrap if necessary)
Advance numHyperPeriods slots in schedule, stopping at hyperperiod boundary
Advance to slot number slotNum
Advance to slot associated with threadID
Advance to hyperperiod number HPNum
relative
absolute

## Slide 12: System Testing Scripts
Developers create testing scripts that advance the schedule, inject randomized values, acquire observations of system state, and evaluate properties
Run several cycles to allow system to stablize
Run past point where inputs have been acquired
Inject randomize values into ports (satisfying constraints)
Run to end of hyperiod and observe output values
Check property – desired relationship between observed state and different temporal points
Run initialization phase of system

## Slide 13: Randomization Framework for Injection Vectors
Scripts can be parameterized on injection vectors, which enables us to use a randomizing framework to generate these vectors
Accepts an input of randomized port values
Test configurations can be defined to specify the
number of runs for the tests,
constraints on random value vector generation
specific property to be checked within the test script

## Slide 14: Scaling Up – Server-Based Deployment
Random generators and configured system tests are farmed out to a configurable family of servers
Test vectors and results are serialized for flexible deployment, reporting, and replay of the tests
Currently hosted using our Jenkins setup, but easy for HAMR to automatically generate deployment scripts, e.g., for AWS, in the future
Map/Reduce Structure for Server-based Deployment of Contract-based Testing
HAMR generates a server-based deployment to run the framework in a distributed/parallel fashion...
...
...
...
...
Distribution
Parallelization
Servers
Continous Integration / Delivery of Formal Methods

## Slide 15: Auto-Generated Assurance Information
Architecture
Static Metrics
Component Code
Application
Executable Contracts
Configurations
Config Name1
Config Name2
…
Component Model Info
Interfaces
GUMBO Contracts
System Readme
Hyperlinked Artifacts
Component Interface
GUMBO Contracts
Component Code
Component Executable Contracts
Configuration N2
Property Specification
Random Number Generation Profile
Specification
Property Satisfaction
& Coverage
Configurations
Total Tests
Passing
Failed
Unsat
Configuration N2 results per timeout
Configuration Tests
Passing
Failed
Unsat
Configuration N2 results per timeout
Test Vectors
Coverage Reports